## 1. Board Ventilation Strategy
The column titles for this worksheet are in rows 3, 7, 8, and 11. They span cells A3, A7, A8 through B8, and A11. The data spans cells A9 through B9, and A12 through A15. If you are not using a screen reader, you can press Alt + R, T for the Review Ribbon, Edit Comment to move to and open a Comment once you are on a cell with a Comment. When you are finished reading the Comment, press Escape to close the comment and return to the worksheet. If you are using the JAWS screen reader, press Ctrl + Shift + Apostrophe to get a list of Comments and their cell coordinates in the worksheet. Press Enter on the Comment you want to go to or Escape once you’ve read the Comment for a cell. You are returned to the workbook. Note that there is no keyboard command with JAWS to reread Comments or read Comments once you are on them in a cell. You must use the ability to list Comments in order to read them if you are using the JAWS screen reader.
School boards are optimizing air quality in schools through improved ventilation and filtration. Implemented measures are dependent on the type of ventilation and feasibility within the context of school facilities and related building systems. This is a key element in the multiple protective strategies being employed to reduce the risk of COVID-19 transmission and support healthier and safe learning environments for students and staff.
Ventilation
Filtration
School Board Ventilation Profile
Catholic DSB of Eastern Ontario
Measures to help reduce transmission risk in indoor settings
Ventilation: Increasing the flow of outdoor/fresh air for diluting the concentration of any infectious particles.
Filtration: Involves the use of different types of fibrous media designed to remove particles from the airstream.
SCHOOL Board Ventilation Strategy
Optimize air quality systems at all facilities to ensure the health and safety for all CDSBEO students, staff, and partners.
Utilize all resources at our disposal to improve our indoor air quality.
Continue frequent routine maintenance and inspections of our ventilation system to ensure optimal performance.
Research and implement technologies to enhance our ventilation systems.

## 2. Board Level Investments
The column titles for this worksheet are in rows 5, 6, 7, and 12. They span cells A5, A6, A7 through B7, and A12. The data spans cells A8 through B11, and A12 through B12. If you are not using a screen reader, you can press Alt + R, T for the Review Ribbon, Edit Comment to move to and open a Comment once you are on a cell with a Comment. When you are finished reading the Comment, press Escape to close the comment and return to the worksheet. If you are using the JAWS screen reader, press Ctrl + Shift + Apostrophe to get a list of Comments and their cell coordinates in the worksheet. Press Enter on the Comment you want to go to or Escape once you’ve read the Comment for a cell. You are returned to the workbook. Note that there is no keyboard command with JAWS to reread Comments or read Comments once you are on them in a cell. You must use the ability to list Comments in order to read them if you are using the JAWS screen reader.
School Board Ventilation Profile
Catholic DSB of Eastern Ontario
Ventilation Funding* |
$6.8M
Ventilation Funding* |
$2.2M
34
Ventilation projects completed
SCHOOL BOARD wide investments
Ventilation projects in progress / planned
7
2020-21 School Year
2021-22 School Year
Note: *This includes includes spending from dedicated ventilation programs, federal-provincial funding, provincial renewal funding and supplemental funding from other board sources.
20
Schools receiving an investment, which
is of total schools in the board.
Schools to receive an investment, which
is of total schools in the board.
7
sTANDALONE HEPA FILTER UNITs dEPLOYED |
207
53%
18%

## 3. School Dashboard
The column titles for this worksheet are in rows 5, 7, and 9. They span cells A5, A7, and A9. The data spans cells B10 through F19. Cell D5 has Sort options. If you are not using a screen reader, you can press Alt + R, T for the Review Ribbon, Edit Comment to move to and open a Comment once you are on a cell with a Comment. When you are finished reading the Comment, press Escape to close the comment and return to the worksheet. If you are using the JAWS screen reader, press Ctrl + Shift + Apostrophe to get a list of Comments and their cell coordinates in the worksheet. Press Enter on the Comment you want to go to or Escape once you’ve read the Comment for a cell. You are returned to the workbook. Note that there is no keyboard command with JAWS to reread Comments or read Comments once you are on them in a cell. You must use the ability to list Comments in order to read them if you are using the JAWS screen reader.
| School Name | Bishop Macdonell
| Ventilation System | Partial Mechanical Ventilation
School Ventilation and Filtration Measures*
| Ventilation assessed |  | 1 | Yes
| Running ventilation systems longer |  | 1 | Yes
| Higher grade filters installed |  | 1 | Yes
| Increased frequency of filter changes |  | 1 | Yes
| Increased fresh air intake (windows and/or mechanical ventilation systems) |  | 1 | Yes
| Standalone HEPA** filter units deployed in portables, as needed |  | 1 | Yes
| Standalone HEPA filter units in place |  | 15 | 15
*Some measures may not be feasible within the context of a school facility/site and related building systems.
**High-Efficiency Particulate Air (HEPA)
School Board Ventilation Profile
Catholic DSB of Eastern Ontario
Select your school here

## 4. Board Level Worksheet (hidden)
The column titles for this worksheet are in rows 1, 3, 13, 15, 16, and 17. They span cells B1 through C1, B3, B13, E15 through P15, E16 through P16, and E17 through P17. The data spans cells A5 though C29, and E18 through P19. If you are not using a screen reader, you can press Alt + R, T for the Review Ribbon, Edit Comment to move to and open a Comment once you are on a cell with a Comment. When you are finished reading the Comment, press Escape to close the comment and return to the worksheet. If you are using the JAWS screen reader, press Ctrl + Shift + Apostrophe to get a list of Comments and their cell coordinates in the worksheet. Press Enter on the Comment you want to go to or Escape once you’ve read the Comment for a cell. You are returned to the workbook. Note that there is no keyboard command with JAWS to reread Comments or read Comments once you are on them in a cell. You must use the ability to list Comments in order to read them if you are using the JAWS screen reader. | Question | Input Response:
Legend
| TAB 1: Board Ventilation Strategy |  |  |  |  | Calculated field
Data entry field
1 | Select Board Name | Catholic DSB of Eastern Ontario | <- Select
2 | Identify your board strategy (in four bullets)
2.1 |  | Optimize air quality systems at all facilities to ensure the health and safety for all CDSBEO students, staff, and partners. | <- Enter here
2.2 |  | Research and implement technologies to enhance our ventilation systems. | <- Enter here
2.3 |  | Utilize all resources at our disposal to improve our indoor air quality. | <- Enter here
2.4 |  | Continue frequent routine maintenance and inspections of our ventilation system to ensure optimal performance. | <- Enter here
TAB 2: Board Level Investments
3 | Investments and Projects |  |  | Funding Sources (Please Complete Expenditure Details)
|  |  |  | 2020-21 | [5 empty] | 2021-22
|  | Calculated fields (3.1, 3.2, 3.5 and 3.8) |  | $50M-Ventilation | $50M-Ventilation | ICIP-CVRIS (Spent) | SRA (Spent on Ventilation) | SCI (Spent on Ventilation) | Other Board Funding (Spent on Ventilation) | $29.4M for filters and utilities | HEPA Funding | Hepa Funding (Approx. $ value for HEPA units provided) | SRA (Spent on Ventilation) | SCI (Spent on Ventilation) | ICIP-CVRIS (Spent) | Other Board Funding (Spent on Ventilation)
3.1 | Ventilation Funding Allocated in 2020-21 | 6.7918 |  | 354400 | 354400 | 3935345.4581 | 706347.6863 | 1289376.172 | 151974.46
3.2 | Ventilation Funding Allocated in 2021-22 | 2.202 | [7 empty] | 192184 | 30000 | 178000 | ENTER | 1475000 | 326809 | ENTER
3.3 | Ventilation Projects Completed (2020-21) | 34 | <- Enter here
3.4 | Number of Schools Receiving an Investment (2020-21) | 20 | <- Enter here
3.5 | % of Schools Open and Operating Receiving an Investment (2020-21) | 52.63% | <- Calculated
3.6 | Ventilation Projects to be Completed (2021-22) | 7 | <- Enter here
3.7 | Number of Schools Receiving an Investment (2021-22) | 7 | <- Enter here
3.8 | % of Schools Open and Operating Receiving an Investment (2021-22) | 18.42% | <- Calculated
4 | Standalone HEPA Filter Units Deployed | 207 | <- Enter here
.

## 5. School Level Worksheet (hidden)
The column titles for this worksheet are in rows 2, 4, and 5. They span cells A2 through N2, A4 through N4, and A5 through N5. The data spans cells A6 through O114. Cells A5 through M5 have Sort options. If you are not using a screen reader, you can press Alt + R, T for the Review Ribbon, Edit Comment to move to and open a Comment once you are on a cell with a Comment. When you are finished reading the Comment, press Escape to close the comment and return to the worksheet. If you are using the JAWS screen reader, press Ctrl + Shift + Apostrophe to get a list of Comments and their cell coordinates in the worksheet. Press Enter on the Comment you want to go to or Escape once you’ve read the Comment for a cell. You are returned to the workbook. Note that there is no keyboard command with JAWS to reread Comments or read Comments once you are on them in a cell. You must use the ability to list Comments in order to read them if you are using the JAWS screen reader.
These are drop down options → |  | Mechanical Ventilation, Partial Mechanical Ventilation, Non-Mechanical Ventilation (Natural Ventilation / Exhaust Only) | Yes/No/NA | Yes/No/NA | Yes/No/NA | Yes/No/NA | Yes/No/NA | Yes/No/NA | Numbers #
Enter School Details |  |  | Identify Ventilation Measures
Name of School Facility | Building ID | Type of School Facility Ventilation | Ventilation assessed | Running ventilation systems longer | Higher grade filters installed | Increased frequency of filter changes | Increased fresh air intake (windows and/or mechanical ventilation systems) | HEPA units deployed in portables, as needed | Standalone HEPA filter units in place | Board ID
Bishop Macdonell | 7003-1 | Partial Mechanical Ventilation | Yes | Yes | Yes | Yes | Yes | Yes | 15 | 52
Holy Cross | 7153-1 | Mechanical Ventilation | Yes | Yes | Yes | Yes | Yes | Yes | 6 | 52
Holy Name of Mary | 10220-1 | Mechanical Ventilation | Yes | Yes | Yes | Yes | Yes | Yes | 4 | 52
Holy Trinity CSS | 11263-1 | Mechanical Ventilation | Yes | Yes | Yes | Yes | Yes | Yes | 7 | 52
Iona Academy | 7054-1 | Mechanical Ventilation | Yes | Yes | Yes | Yes | Yes | NA | 2 | 52
J. L. Jordan | 7029-1 | Mechanical Ventilation | Yes | Yes | Yes | Yes | Yes | Yes | 8 | 52
Mother Teresa | 7398-1 | Mechanical Ventilation | Yes | Yes | Yes | Yes | Yes | Yes | 11 | 52
Notre Dame CHS | 5088-1 | Mechanical Ventilation | Yes | Yes | Yes | Yes | Yes | NA | 1 | 52
Our Lady of Good Counsel | 8563-1 | Mechanical Ventilation | Yes | Yes | Yes | Yes | Yes | NA | 3 | 52
Pope John Paul | 7367-1 | Mechanical Ventilation | Yes | Yes | Yes | Yes | Yes | Yes | 7 | 52
Sacred Heart - Cornwall | 5049-1 | Mechanical Ventilation | Yes | Yes | Yes | Yes | Yes | Yes | 4 | 52
Sacred Heart of Jesus | 7422-1 | Partial Mechanical Ventilation | Yes | Yes | Yes | Yes | Yes | Yes | 9 | 52
St. Andrew | 7464-1 | Partial Mechanical Ventilation | Yes | Yes | Yes | Yes | Yes | Yes | 8 | 52
St. Anne | 7480-1 | Mechanical Ventilation | Yes | Yes | Yes | Yes | Yes | Yes | 8 | 52
St. Edward | 7611-1 | Partial Mechanical Ventilation | Yes | Yes | Yes | Yes | Yes | Yes | 10 | 52
St. Finnan's | 7362-1 | Mechanical Ventilation | Yes | Yes | Yes | Yes | Yes | NA | 1 | 52
St. Francis de Sales CES | 7694-1 | Mechanical Ventilation | Yes | Yes | Yes | Yes | Yes | NA | 5 | 52
St. Francis Xavier - Brockville | 7645-1 | Mechanical Ventilation | Yes | Yes | Yes | Yes | Yes | NA | 2 | 52
St. Francix Xavier CHS | 5118-1 | Mechanical Ventilation | Yes | Yes | Yes | Yes | Yes | Yes | 15 | 52
St. Gregory | 11085-1 | Mechanical Ventilation | Yes | Yes | Yes | Yes | Yes | Yes | 14 | 52
St. John Bosco - Brockville | 7726-1 | Mechanical Ventilation | Yes | Yes | Yes | Yes | Yes | Yes | 5 | 52
St. John CHS | 7737-1 | Mechanical Ventilation | Yes | Yes | Yes | Yes | Yes | Yes | 2 | 52
St. John Elementary | 3016-1 | Mechanical Ventilation | Yes | Yes | Yes | Yes | Yes | NA | 3 | 52
St. Joseph - Gananoque | 7777-1 | Mechanical Ventilation | Yes | Yes | Yes | Yes | Yes | NA | 3 | 52
St. Joseph - Toledo | 7211-1 | Mechanical Ventilation | Yes | Yes | Yes | Yes | Yes | Yes | 3 | 52
St. Jude | 7272-1 | Mechanical Ventilation | Yes | Yes | Yes | Yes | Yes | Yes | 4 | 52
St. Luke CHS | 10385-1 | Mechanical Ventilation | Yes | Yes | Yes | Yes | Yes | Yes | 0 | 52
St. Mark | 7779-1 | Mechanical Ventilation | Yes | Yes | Yes | Yes | Yes | NA | 3 | 52
St. Mary - Carleton Place | 7869-1 | Mechanical Ventilation | Yes | Yes | Yes | Yes | Yes | Yes | 2 | 52
St. Mary - Chesterville | 7870-1 | Mechanical Ventilation | Yes | Yes | Yes | Yes | Yes | NA | 2 | 52
St. Mary - St. Cecilia | 7874-1 | Mechanical Ventilation | Yes | Yes | Yes | Yes | Yes | Yes | 2 | 52
St. Mary CHS | 5201-1 | Mechanical Ventilation | Yes | Yes | Yes | Yes | Yes | Yes | 1 | 52
St. Matthew CSS | 7582-1 | Partial Mechanical Ventilation | Yes | Yes | Yes | Yes | Yes | NA | 12 | 52
St. Michael CHS | 5015-1 | Mechanical Ventilation | Yes | Yes | Yes | Yes | Yes | NA | 0 | 52
St. Patrick | 7397-1 | Mechanical Ventilation | Yes | Yes | Yes | Yes | Yes | Yes | 7 | 52
St. Peter | 7959-1 | Mechanical Ventilation | Yes | Yes | Yes | Yes | Yes | Yes | 6 | 52
St. Joseph CHS | 5049-1 | Mechanical Ventilation | Yes | Yes | Yes | Yes | Yes | Yes | 5 | 52
St. Thomas Aquinas CHS | 11112-1 | Mechanical Ventilation | Yes | Yes | Yes | Yes | Yes | Yes | 7 | 52
207

## supporting docs (hidden)
School | Project | Year | Category | HEPPA Units | # of RTU Units Added | # of RTU Units Replaced | 2020-2021 SR | 2020-2021 SCI | 2020-2021 CVRIS (F46) | 2020-2021 CAIF (F47) | Federal Air Quality cc3171 | Federal Air Quality cc3187 | Board Funded 2020-2021 | 2020-2021 HEPA Funding | 2020-2021 HEPA Funding | 2021-2022 Filter Funding | 2021-2022 CVRIS (F46) | 2021-2022 SCI | Budget Code
Bishop Macdonell | HEPA Air Filters - PO67565 | 2020-21 | HEPA Air Filters | 15 | [9 empty] | 10227.2727
Bishop Macdonell | Addition of A/C (RTU/HVAC) and new lighting throughout the school - Phase I - Contractor Final Phase of Locker removal 2021 - RFQ Closed awaiting approval - Add to the RTU/HVAC-New lighting project | 2020-21 | HVAC Upgrades |  | 5 |  |  |  | 699719.1348 | [9 empty] | 46-000-654-0000-1-40 (HVAC) 42-000-654-3577-1-40 (Lighting & Locker)
Bishop Macdonell | Addition of A/C (RTU/HVAC) and new lighting throughout the school - Phase I - Contractor Final Phase of Locker removal 2021 - RFQ Closed awaiting approval - Add to the RTU/HVAC-New lighting project | 2020-21 | HVAC Upgrades |  |  |  | 143432.6196
Bishop Macdonell | Architectural/Engineering for A/C and new lighting throughout the school - 2019-20 Carry Over | 2020-21 | HVAC Upgrades |  |  |  |  | 44107.24
Bishop Macdonell | Phase 2 | 2021-22 | HVAC Upgrades | [14 empty] | 150000
Holy Cross | BAS System(SR) | 2020-21 | Building Automation System |  |  |  | 47923.256 | [11 empty] | 42-000-654-3336-1-10(BAS)
Holy Cross | PO65975 Trane - BAS modifications | 2020-21 | Building Automation System | [8 empty] | 2756.34
Holy Cross | HEPA Air Filters - PO67565 | 2020-21 | HEPA Air Filters | 6 | [9 empty] | 4090.9091
Holy Cross | Replace 1 old RTU's for improved efficiency and ventilation(CVRIS) | 2020-21 | HVAC Upgrades |  |  | 1 |  |  | 62041.768 | [9 empty] | 46-000-654-0000-1-10(HVAC)
Holy Cross | :ar-Mex Monthly Inspection 20/21 | 2020-21 | Monthly Mechanical Inspection | [8 empty] | 6824.288
Holy Name of Mary | HEPA Air Filters - PO67565 | 2020-21 | HEPA Air Filters | 4 | [9 empty] | 2727.2727
Holy Name of Mary | Addition of Roof Top Units - removing Heat Pumps - Contractor - 2019-20 Carry Over | 2020-21 | HVAC Upgrades |  |  | 10 |  | 476265.69 | [10 empty] | 45-000-654-6083-1-20
Holy Name of Mary | Architectural/Engineering for Roof Top Units - removing Heat Pumps - Carry Over from 2019-20 | 2020-21 | HVAC Upgrades |  |  |  |  | 2308.82 | [10 empty] | 45-000-654-6078-1-20
Holy Trinity CSS | HEPA Air Filters - PO67565 | 2020-21 | HEPA Air Filters | 7 | [9 empty] | 4772.7273
Holy Trinity CSS | Comfort Mechanical extra maintenance | 2020-21 | Monthly Mechanical Inspection | [7 empty] | 1011.384
Holy Trinity CSS | Comfort Mechanical extra maintenance | 2020-21 | Monthly Mechanical Inspection | [7 empty] | 1011.384
Iona Academy | Add Building Automation System for | 2021-22 | Building Automation System | [14 empty] | 50000
Iona Academy | HEPA Air Filters - PO67565 | 2020-21 | HEPA Air Filters | 2 | [9 empty] | 1363.6364
Iona Academy | CO2 and ventilation optimization, give remote access and monitoring | 2021-22 | HVAC Upgrades | [14 empty] | 50000
J. L. Jordan | HEPA Air Filters - PO67565 | 2020-21 | HEPA Air Filters | 8 | [9 empty] | 5454.5455
J. L. Jordan | :ar-Mex Monthly Inspection 20/21 | 2020-21 | Monthly Mechanical Inspection | [8 empty] | 3399.8848
Mother Teresa | HEPA Air Filters | 2021-22 | HEPA Air Filters | 11 | [6 empty] | 8091.05
Mother Teresa | Comfort Mechanical extra maintenance | 2020-21 | Monthly Mechanical Inspection | [7 empty] | 816.2584
Mother Teresa | Comfort Mechanical extra maintenance | 2020-21 | Monthly Mechanical Inspection | [7 empty] | 816.2584
Notre Dame CHS | BAS Automation (SR) | 2020-21 | Building Automation System |  |  |  | 24160.84 | [11 empty] | 42-000-654-3336-4-75 (BAS)
Notre Dame CHS | PO65975 Trane - BAS modifications | 2020-21 | Building Automation System | [8 empty] | 2538.37
Notre Dame CHS | HEPA Air Filters - austin air | 2020-21 | HEPA Air Filters | 1 | [6 empty] | 735.55
Notre Dame CHS | :ar-Mex Monthly Inspection 20/21 | 2020-21 | Monthly Mechanical Inspection | [8 empty] | 17220.0896
Notre Dame CHS | Replace 3 old RTU's for improved efficiency and ventilation (CVRIS) | 2020-21 | HVAC Upgrades |  |  | 3 |  |  | 169360.848 | [9 empty] | 46-000-654-0000-4-75 (HVAC)
Our Lady of Good Counsel | BAS Automation (SR) | 2020-21 | Building Automation System |  |  |  | 31598.088 | [11 empty] | 42-000-654-3336-1-42(BAS)
Our Lady of Good Counsel | HEPA Air Filters - austin air | 2020-21 | HEPA Air Filters | 3 | [6 empty] | 2206.65
Our Lady of Good Counsel | BAS Modifications for Improved ventilation and HVAC inspections | 2020-21 | HVAC Upgrades | [7 empty] | 879.1908
Our Lady of Good Counsel | Replace 5 old RTU's for improved efficiency and ventilation(CVRIS) | 2020-21 | RTU Replacement |  |  | 5 |  |  | 204871.664 | [9 empty] | 46-000-654-0000-1-42 (HVAC)
Pope John Paul | HEPA Air Filters - austin air | 2020-21 | HEPA Air Filters | 7 | [6 empty] | 5148.85
Pope John Paul | BAS Automation (SR) | 2020-21 | Building Automation System |  |  |  | 73187.424 | [11 empty] | 42-000-654-3336-1-35 (BAS)
Pope John Paul | Replace 4 old RTU's for improved efficiency and ventilation(CVRIS) | 2020-21 | RTU Replacement |  |  | 4 |  |  | 147171.696 | [9 empty] | 46-000-654-0000-1-35 (HVAC)
Sacred Heart - Cornwall | HEPA Air Filters - austin air | 2020-21 | HEPA Air Filters | 4 | [6 empty] | 2942.2
Sacred Heart - Cornwall | 1 set of Merv 13 filters left on site as spare | 2020-21 | MERV 13 HVAC Filter | [7 empty] | 10313.052
Sacred Heart - Cornwall | Comfort Mechanical extra maintenance | 2020-21 | Monthly Mechanical Inspection | [7 empty] | 1481.32
Sacred Heart - Cornwall | Comfort Mechanical extra maintenance | 2020-21 | Monthly Mechanical Inspection | [7 empty] | 1481.32
Sacred Heart - Cornwall | Replace two cooling coils-Emergency April 2021 - waiting to be installed | 2020-21 | HVAC Upgrades |  |  |  |  | 39740.24
Sacred Heart of Jesus Catholic School | :ar-Mex Monthly Inspection 20/21 | 2020-21 | Monthly Mechanical Inspection | [8 empty] | 1230.742
Sacred Heart of Jesus Catholic School | :ar-Mex Monthly Inspection 20/21 | 2020-21 | Monthly Mechanical Inspection | [8 empty] | 306.48
Sacred Heart of Jesus Catholic School | HEPA Air Filters - austin air | 2020-21 | HEPA Air Filters | 9 | [6 empty] | 6619.95
Sacred Heart of Jesus Catholic School | Engineering HVAC | 2021-22 | HVAC Upgrades | [14 empty] | 50000
St. Andrew’s Catholic School | HEPA Air Filters - austin air | 2020-21 | HEPA Air Filters | 8 | [6 empty] | 5884.4
St. Andrew’s Catholic School | BAS upgrade | 2021-22 | Building Automation System | [14 empty] | 75000
St. Andrew’s Catholic School | and replace Changeair units and boiler plant | 2021-22 | HVAC Upgrades | [14 empty] | 400000
St. Andrew's | Addition of RTU's complete building 2021 - Arch/Eng services only | 2020-21 | HVAC Upgrades |  |  |  |  | 51023.81 | [10 empty] | 45-000-654-6108-1-44
St. Anne | HEPA Air Filters - austin air | 2020-21 | HEPA Air Filters | 8 | [6 empty] | 5884.4
St. Anne | Add air conditioning in south end of the building and replace the last section of roof - Section 2.0 - Contractor 2019-20 Carry Over | 2020-21 | HVAC Upgrades | [6 empty] | 151974.46 | [8 empty] | 47-000-654-0000-1-45
St. Edward | BAS Automation (SR) | 2020-21 | Building Automation System |  |  |  | 31802.408 | [11 empty] | 42-000-654-3336-1-25 (BAS)
St. Edward | HEPA Air Filters - austin air | 2020-21 | HEPA Air Filters | 10 | [6 empty] | 7355.5
St. Edward | Addition of RTU's complete building 2021-Arch/Eng services only | 2020-21 | HVAC Upgrades |  |  |  |  | 48117.36 | [10 empty] | 45-000-654-6107-1-25
St. Edward | Replace 1 old RTU's for improved efficiency and ventilation(CVRIS) | 2020-21 | HVAC Upgrades |  |  | 1 |  |  | 72605.112 | [9 empty] | 46-000-654-0000-1-25 (HVAC)
St. Edward | Complete HVAC replacement | 2020-21 | HVAC Upgrades | [14 empty] | 300000
St. Finnan's | PO65975 Trane - BAS modifications | 2020-21 | Building Automation System | [8 empty] | 4339.55
St. Finnan's | Comfort Mechanical extra maintenance | 2020-21 | Monthly Mechanical Inspection | [7 empty] | 842.82
St. Finnan's | Comfort Mechanical extra maintenance | 2020-21 | Monthly Mechanical Inspection | [7 empty] | 842.82
St. Finnan's | HEPA Air Filters - austin air | 2020-21 | HEPA Air Filters | 1 | [6 empty] | 735.55
St. Francis Brockville | :ar-Mex Monthly Inspection 20/21 | 2020-21 | Monthly Mechanical Inspection | [8 empty] | 5884.416
St. Francis de Sales CES | HEPA Air Filters - austin air | 2020-21 | HEPA Air Filters | 5 | [6 empty] | 3677.75
St. Francis de Sales CES | Comfort Mechanical extra maintenance | 2020-21 | Monthly Mechanical Inspection | [7 empty] | 970.52
St. Francis de Sales CES | Comfort Mechanical extra maintenance | 2020-21 | Monthly Mechanical Inspection | [7 empty] | 970.52
St. Francis Xavier - Brockville | HEPA Air Filters - PO67565 | 2020-21 | HEPA Air Filters | 2 | [9 empty] | 1363.6364
St. Francix Xavier CHS | Comfort Mechanical extra maintenance | 2020-21 | Monthly Mechanical Inspection | [7 empty] | 566.988
St. Francix Xavier CHS | Comfort Mechanical extra maintenance | 2020-21 | Monthly Mechanical Inspection | [7 empty] | 566.988
St. Francix Xavier CHS | HEPA Air Filters - austin air | 2020-21 | HEPA Air Filters | 15 | [6 empty] | 11033.25
St. Gregory | PO65975 Trane - BAS modifications | 2020-21 | Building Automation System | [8 empty] | 4817.96
St. Gregory | :ar-Mex Monthly Inspection 20/21 | 2020-21 | Monthly Mechanical Inspection | [8 empty] | 6946.88
St. Gregory | HEPA Air Filters - austin air | 2020-21 | HEPA Air Filters | 14 | [6 empty] | 10297.7
St. Joesph CHS | Comfort Mechanical extra maintenance | 2020-21 | Monthly Mechanical Inspection | [7 empty] | 794.5517
St. Joesph CHS | Comfort Mechanical extra maintenance | 2020-21 | Monthly Mechanical Inspection | [7 empty] | 796.848
St. Joesph CHS | Comfort Mechanical extra maintenance | 2020-21 | Monthly Mechanical Inspection | [7 empty] | 796.848
St. John Bosco | :ar-Mex Monthly Inspection 20/21 | 2020-21 | Monthly Mechanical Inspection | [8 empty] | 13485.12
St. John Bosco | HEPA Air Filters - austin air | 2020-21 | HEPA Air Filters | 5 | [6 empty] | 3677.75
St. John CHS | PO65975 Trane - BAS modifications | 2020-21 | Building Automation System | [8 empty] | 2941.26
St. John CHS | BAS Automation (SR) | 2020-21 | Building Automation System |  |  |  | 27460.608 | [11 empty] | 42-000-654-3336-4-76 (BAS)
St. John CHS | BCU Upgrade to Tracer SC - TRANE - Done | 2020-21 | Building Automation System |  |  |  | 50875.68 | [11 empty] | 42-000-654-3656-4-76
St. John CHS | HEPA Air Filters - austin air | 2020-21 | HEPA Air Filters | 2 | [6 empty] | 1471.1
St. John CHS | Replace 7 old RTU's for improved efficiency and ventilation(CVRIS) | 2020-21 | HVAC Upgrades |  |  | 7 |  |  | 305560.56 | [9 empty] | 46-000-654-0000-4-76 (HVAC)
St. John Elementary | :ar-Mex Monthly Inspection 20/21 | 2020-21 | Monthly Mechanical Inspection | [8 empty] | 3922.944
St. John Elementary | HEPA Air Filters - austin air | 2020-21 | HEPA Air Filters | 3 | [6 empty] | 2206.65
St. John Elementary | :ar-Mex Monthly Inspection 20/21 | 2020-21 | Monthly Mechanical Inspection | [8 empty] | 17571.52
St. Joseph - Gananoque | HEPA Air Filters - austin air | 2020-21 | HEPA Air Filters | 3 | [6 empty] | 2206.65
St. Joseph - Gananoque | :ar-Mex Monthly Inspection 20/21 | 2020-21 | Monthly Mechanical Inspection | [8 empty] | 7110.336
St. Joseph - Gananoque | Comfort Mechanical extra maintenance | 2020-21 | Monthly Mechanical Inspection | [7 empty] | 664.04
St. Joseph - Toledo | HEPA Air Filters - austin air | 2020-21 | HEPA Air Filters | 3 | [6 empty] | 2206.65
St. Joseph - Toledo | :ar-Mex Monthly Inspection 20/21 | 2020-21 | Monthly Mechanical Inspection | [8 empty] | 7384.2883
St. Joseph - Toledo | Comfort Mechanical extra maintenance | 2020-21 | Monthly Mechanical Inspection | [7 empty] | 684.472
St. Joseph - Toledo | BAS replacement of JCI for improved efficiency | 2021-22 | Building Automation System | [14 empty] | 100000
St. Joseph - Toledo | Comfort Mechanical extra maintenance | 2020-21 | Monthly Mechanical Inspection | [7 empty] | 684.472
St. Joseph CHS | HEPA Air Filters - austin air | 2020-21 | HEPA Air Filters | 5 | [6 empty] | 3677.75
St. Joseph CSS | Upgrade Pneumatic Control on AC7 with a new DDC unit Control System | 2020-21 | Building Automation System |  |  |  |  | 33058.95 | [10 empty] | 45-000-654-3672-4-85
St. Joseph CSS | BAS Automation (SR) | 2020-21 | Building Automation System |  |  |  | 61837.448 | [11 empty] | 42-000-654-3336-4-85 (BAS)
St. Joseph CSS | Addition of a/c (HVAC) in the Large gymnasium, including LED lighting - ASCO - Start June 14 | 2020-21 | HVAC Upgrades |  | 4 |  |  | 369747.69 | [10 empty] | 45-000-654-6098-4-85
St. Joseph CSS | Replace two cooling coils-Emergency late 2020 Christmas | 2020-21 | HVAC Upgrades |  |  |  |  | 52224.192 | [10 empty] | 45-000-654-6093-4-85
St. Joseph CSS | Replace 6 old RTU's for improved efficiency and ventilation (CVRIS) | 2020-21 | HVAC Upgrades |  |  | 6 |  |  | 340550.36 | [9 empty] | 46-000-654-0000-4-85 (HVAC)
St. Jude | Marleau HVAC PO65976 | 2020-21 | HVAC Upgrades | [7 empty] | 6951.988
St. Jude | HEPA Air Filters | 2020-21 | HEPA Air Filters | 4 | [10 empty] | 3976
St. Luke CHS | :ar-Mex Monthly Inspection 20/21 | 2020-21 | Monthly Mechanical Inspection | [8 empty] | 2492.704
St. Luke CHS | :ar-Mex Monthly Inspection 20/21 | 2020-21 | Monthly Mechanical Inspection | [8 empty] | 919.44
St. Mark | PO65975 Trane - BAS modifications | 2020-21 | Building Automation System | [8 empty] | 1417.16
St. Mark | HEPA Air Filters | 2020-21 | HEPA Air Filters | 3 | [10 empty] | 2982
St. Mark | :ar-Mex Monthly Inspection 20/21 | 2020-21 | Monthly Mechanical Inspection | [8 empty] | 5475.776
St. Mark | BCU Upgrade to Tracer SC - TRANE - Done | 2020-21 | Building Automation System |  |  |  | 42702.88 | [11 empty] | 42-000-654-3657-1-11
St. Mary - Carleton Place | HEPA Air Filters - austin air | 2020-21 | HEPA Air Filters | 2 | [6 empty] | 1471.1
St. Mary - Carleton Place | BAS Modifications for Improved ventilation and HVAC inspections | 2020-21 | HVAC Upgrades | [7 empty] | 1192.2343
St. Mary - Carleton Place | :ar-Mex Monthly Inspection 20/21 | 2020-21 | Monthly Mechanical Inspection | [8 empty] | 4086.4
St. Mary - Carleton Place | Arch/Engineering for roof & RTU/HVAC over 82 addition | 2020-21 | HVAC Upgrades |  |  |  |  | 45277.31 | [10 empty] | 45-000-653-6096-1-21
St. Mary - Carleton Place | Addition of A/C for the second floor (new windows prevent individual units that were in place from being used). With heat risign, it gets very hot on that floor - roof & RTU/HVAC | 2020-21 | HVAC Upgrades |  | 2 |  |  |  | 357886.91 | [9 empty] | 46-000-654-0000-1-21
St. Mary - St. Cecilia | HEPA Air Filters | 2020-21 | HEPA Air Filters | 2 | [10 empty] | 1988
St. Mary Chesterville | HEPA Air Filters | 2020-21 | HEPA Air Filters | 2 | [10 empty] | 1988
St. Mary Chesterville | Addition of RTU's complete building - Arch/Eng services only | 2020-21 | HVAC Upgrades |  |  |  |  | 64360.8 | [10 empty] | 45-000-653-6094-1-56
St. Mary Chesterville | Addition of RTU's complete building - Contractor only - Starting Mon. June 14 | 2020-21 | HVAC Upgrades |  | 5 |  |  |  | 938850.4 | [9 empty] | 46-000-654-0000-1-56
St. Mary Chesterville | Addition of RTU's complete building - Contractor only - Budget Account # 42-000 Figures | 2020-21 | HVAC Upgrades |  |  |  | 11500 | [11 empty] | 42-000-654-3615-1-56
St. Mary Chesterville | Comfort Mechanical extra maintenance | 2020-21 | Monthly Mechanical Inspection | [7 empty] | 158.348
St. Mary Chesterville | PO65975 Trane - BAS modifications | 2020-21 | Building Automation System | [8 empty] | 744.22
St. Mary Chesterville | Comfort Mechanical extra maintenance | 2020-21 | Monthly Mechanical Inspection | [7 empty] | 158.348
St. Mary CHS | Bas Automation (SR) | 2020-21 | Building Automation System |  |  |  | 84506.752 | [11 empty] | 42-000-654-3336-4-77 (BAS)
St. Mary CHS | HEPA Air Filters - austin air | 2020-21 | HEPA Air Filters | 1 | [6 empty] | 735.55
St. Mary CHS | Replace 7 old RTU's for improved efficiency and ventilation (CVRIS) | 2020-21 | HVAC Upgrades |  |  | 7 |  |  | 233588.84 | [9 empty] | 46-000-654-0000-4-77(HVAC)
St. Mary CHS | Replace 2 MUA units for change rooms & Kitchen. (Remove old MUA unit, roof repair, and interlock the MUA with the exhaust in the kitchen. - SINGLE SOURCE NEEDED - 2019-20 Carry Over | 2020-21 | HVAC Upgrades |  |  |  |  | 12442.06 | [10 empty] | 45-000-654-6086-4-77
St. Mary CHS | BAS Modifications for Improved ventilation and HVAC inspections | 2020-21 | HVAC Upgrades | [7 empty] | 3125.4541
St. Mary CHS | :ar-Mex Monthly Inspection 20/21 | 2020-21 | Monthly Mechanical Inspection | [8 empty] | 13076.48
St. Matthew CSS | Addition of air conditioning for upstairs classrooms - Arch/Eng Services | 2020-21 | HVAC Upgrades |  |  |  |  | 50702.01 | [10 empty] | 45-000-654-6109-1-47
St. Matthew CSS | Add ventilation to 2nd floor | 2020-21 | HVAC Upgrades | [14 empty] | 300000
St. Matthew CSS | HEPA Air Filters | 2020-21 | HEPA Air Filters | 12 | [10 empty] | 11928
St. Matthew CSS | BAS Modifications for Improved ventilation and HVAC inspections | 2020-21 | HVAC Upgrades | [7 empty] | 531.4399
St. Michael CHS | BAS Automation (SR) | 2020-21 | Building Automation System |  |  |  | 75359.6827 | [11 empty] | 42-000-654-3336-4-78(BAS)
St. Michael CHS | Replace 6 old RTU's for improved efficiency and ventilation(CVRIS) | 2020-21 | HVAC Upgrades |  |  | 6 |  |  | 403138.1653 | [9 empty] | 42-000-654-3338-4-78 (SR part of HVAC) 46-000-654-0000-4-78 (HVAC)
St. Michael CHS | Replace 6 old RTU's for improved efficiency and ventilation(CVRIS) | 2021-22 | HVAC Upgrades | [13 empty] | 326809
St. Patrick | PO65975 Trane - BAS modifications | 2020-21 | Building Automation System | [8 empty] | 2011.7
St. Patrick | HEPA Air Filters | 2020-21 | HEPA Air Filters | 7 | [10 empty] | 6958
St. Peter | HEPA Air Filters | 2020-21 | HEPA Air Filters | 6 | [10 empty] | 5964
St. Thomas Aquinas CHS | HEPA Air Filters | 2020-21 | HEPA Air Filters | 7 | [10 empty] | 6958
Various Schools | BAS Modifications for Improved ventilation and HVAC inspections | 2020-21 | HVAC Inspections & Optimization | [7 empty] | 109423.576
Various Schools | Excess HEPPA Units - To be deployed | 2020-21 | HEPA Air Filters | [11 empty] | 135258
Various Schools | Engineering Services Air Balancing and Indoor Air Quality Assessment (Phase 2 of IAQ assessments) | 2020-21 | HVAC Inspections & Optimization | [8 empty] | 215495.65 | 33979.07
Various Schools | supply MERV 13 filters for 24 schools | 2020-21 | MERV 13 HVAC Filter | [7 empty] | 38557.8781
Various Schools | Comfort Mechanical extra maintenance - PO 65977 remaining | 2020-21 | Monthly Mechanical Inspection | [7 empty] | 21342.4987
Various Schools | Comfort Mechanical extra maintenance - PO 65978 remaining | 2020-21 | Monthly Mechanical Inspection | [7 empty] | 26184.6658
Various Schools | larmex maintenance PO65978 | 2020-21 | Monthly Mechanical Inspection | [7 empty] | 13092.3374
Various Schools | filters | 2021-22 | MERV 13 HVAC Filter | [12 empty] | 192184
Various Schools | larmex maintenance PO65978 | 2020-21 | Monthly Mechanical Inspection | [7 empty] | 13092.3374
|  |  |  | 207 | 16 | 50 | 706347.6863 | 1289376.172 | 3935345.4581 | 151974.46 | 349069.161 | 354399.9986 | 33979.07 | 30000 | 178000 | 192184 | 326809 | 1475000
Maximum Funding | [10 empty] | 354400 | 354400 |  | 30000 | 178000 | 192184 | 326809 | 1475000
Difference | [10 empty] | 5330.839 | 0.001392 | -33979.07 | 0 | 0 | 0 | 0 | 0
Number of HEPPA Air Filters | [10 empty] | 120 | 0 | 0 | 44 | 179 | 0 | 0
Note on D1: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: @Royal Metcalfe Can you go down the list and categorize
Note on S18: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: @Royal Metcalfe please split this project cost
Note on S48: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: @Royal Metcalfe please split this into the two projects
Note on T80: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: @Ashley Hutchinson Need a G/L code Reply: @Shawna Weagle - GL code please :)
Note on T95: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: @Shawna Weagle will need a budget code for this SCI project. Thank You!
Note on T107: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: @Ashley Hutchinson need a G/L code Reply: @Dan Tackaberry just tag Shawna and she'll do it right away :) @Shawna Weagle please create G/L
Note on T112: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: new code for federal funding

## pivot table (hidden)
Values
School | Year | Category | # of HEPPA Units | # of RTU Units Added | # of RTU Units Replaced | 2020-2021 SR | 2020-2021 SCI | 2020-2021 CVRIS (F46) | 2020-2021 CAIF (F47) | Federal Air Quality cc3187 | Federal Air Quality cc3171 | 2020-2021 HEPA Funding | 2020-2021 HEPA Funding2
St. Mary CHS | 2020-21 | Building Automation System |  |  |  | 84506.752
|  | HEPA Air Filters | 1 | [7 empty] | 735.55
|  | HVAC Upgrades |  |  | 9 |  | 12442.06 | 233588.84 |  |  | 3125.4541
|  | Monthly Mechanical Inspection | [7 empty] | 13076.48
St. Mary CHS Total |  |  | 1 |  | 9 | 84506.752 | 12442.06 | 233588.84 |  | 13076.48 | 3861.0041
Grand Total |  |  | 1 |  | 9 | 84506.752 | 12442.06 | 233588.84 |  | 13076.48 | 3861.0041

## Funding Tables (hidden)
The column titles for this worksheet are in rows 1 and 2. They span cells D1 through P1, and A2 through O2. The data spans cells A3 through P78. If you are not using a screen reader, you can press Alt + R, T for the Review Ribbon, Edit Comment to move to and open a Comment once you are on a cell with a Comment. When you are finished reading the Comment, press Escape to close the comment and return to the worksheet. If you are using the JAWS screen reader, press Ctrl + Shift + Apostrophe to get a list of Comments and their cell coordinates in the worksheet. Press Enter on the Comment you want to go to or Escape once you’ve read the Comment for a cell. You are returned to the workbook. Note that there is no keyboard command with JAWS to reread Comments or read Comments once you are on them in a cell. You must use the ability to list Comments in order to read them if you are using the JAWS screen reader. |  | Board DropDownList | Summer 2021 |  | 21-22 SY | [9 empty] | Board DropDownList | [5 empty] | X1000
Index | DSBNo | DSB Name | HVAC | Windows | HVAC | Windows | Total $ | Ventilation Funding | Windows Funding | Ventilation | SRA | Project Count | HEPA Units | Facilities with No Mechanical Ventilation | DSB Name | Aug 2020 $50M | Feb 2021 $50M | $29.4M for Filters | Funding for HEPA units | HEPA units | Hepa Funding (Approx. $ value for HEPA units provided) | HVAC System Type
1 | 1 | DSB Ontario North East | [12 empty] | DSB Ontario North East | 0.2931 | 0.2931 | 0.16191 | 0.018 | 109 | 0.109 | Mechanical Ventilation
2 | 2 | Algoma DSB | [12 empty] | Algoma DSB | 0.4164 | 0.4164 | 0.17814 | 0.028 | 132 | 0.132 | Partial Mechanical Ventilation
3 | 3 | Rainbow DSB | [12 empty] | Rainbow DSB | 0.4491 | 0.4491 | 0.20844 | 0.034 | 900 | 0.9 | Non-Mechanical Ventilation (Natural Ventilation / Exhaust Only)
4 | 4 | Near North DSB | [12 empty] | Near North DSB | 0.3562 | 0.3562 | 0.17216 | 0.023 | 181 | 0.181
5 | 5A | Keewatin-Patricia DSB | [12 empty] | Keewatin-Patricia DSB | 0.1709 | 0.1709 | 0.10134 | 0.013 | 23 | 0.023
6 | 5B | Rainy River DSB | [12 empty] | Rainy River DSB | 0.1114 | 0.1114 | 0.051128 | 0.008 | 19 | 0.019
7 | 6A | Lakehead DSB | [12 empty] | Lakehead DSB | 0.2938 | 0.2938 | 0.12232 | 0.02 | 26 | 0.026
8 | 6B | Superior-Greenstone DSB | [12 empty] | Superior-Greenstone DSB | 0.1482 | 0.1482 | 0.062121 | 0.006 | 10 | 0.01
9 | 7 | Bluewater DSB | [12 empty] | Bluewater DSB | 0.4528 | 0.4528 | 0.26431 | 0.045 | 103 | 0.103
10 | 8 | Avon Maitland DSB | [12 empty] | Avon Maitland DSB | 0.4029 | 0.4029 | 0.25624 | 0.034 | 62 | 0.062
11 | 9 | Greater Essex County DSB | [12 empty] | Greater Essex County DSB | 0.8464 | 0.8464 | 0.48301 | 0.072 | 491 | 0.491
12 | 10 | Lambton Kent DSB | [12 empty] | Lambton Kent DSB | 0.6784 | 0.6784 | 0.32155 | 0.051 | 320 | 0.32
13 | 11 | Thames Valley DSB | [12 empty] | Thames Valley DSB | 1.8102 | 1.8102 | 1.1466 | 0.201 | 630 | 0.63
14 | 12 | Toronto DSB | [12 empty] | Toronto DSB | 6.9186 | 6.9186 | 3.7211 | 0.527 | 648 | 0.648
15 | 13 | Durham DSB | [12 empty] | Durham DSB | 1.4395 | 1.4395 | 0.99996 | 0.171 | 311 | 0.311
16 | 14 | Kawartha Pine Ridge DSB | [12 empty] | Kawartha Pine Ridge DSB | 0.8822 | 0.8822 | 0.47902 | 0.078 | 933 | 0.933
17 | 15 | Trillium Lakelands DSB | [12 empty] | Trillium Lakelands DSB | 0.532 | 0.532 | 0.26747 | 0.035 | 768 | 0.768
18 | 16 | York Region DSB | [12 empty] | York Region DSB | 2.588 | 2.588 | 1.696 | 0.282 | 497 | 0.497
19 | 17 | Simcoe County DSB | [12 empty] | Simcoe County DSB | 1.0784 | 1.0784 | 0.71854 | 0.123 | 149 | 0.149
20 | 18 | Upper Grand DSB | [12 empty] | Upper Grand DSB | 0.845 | 0.845 | 0.48561 | 0.091 | 262 | 0.262
21 | 19 | Peel DSB | [12 empty] | Peel DSB | 2.9913 | 2.9913 | 2.0339 | 0.417 | 1462 | 1.462
22 | 20 | Halton DSB | [12 empty] | Halton DSB | 1.2395 | 1.2395 | 0.88418 | 0.155 | 1045 | 1.045
23 | 21 | Hamilton-Wentworth DSB | [12 empty] | Hamilton-Wentworth DSB | 1.162 | 1.162 | 0.67302 | 0.12 | 794 | 0.794
24 | 22 | DSB of Niagara | [12 empty] | DSB of Niagara | 1.0193 | 1.0193 | 0.53801 | 0.069 | 428 | 0.428
25 | 23 | Grand Erie DSB | [12 empty] | Grand Erie DSB | 0.7641 | 0.7641 | 0.36728 | 0.067 | 765 | 0.765
26 | 24 | Waterloo Region DSB | [12 empty] | Waterloo Region DSB | 1.4674 | 1.4674 | 0.86324 | 0.156 | 331 | 0.331
27 | 25 | Ottawa-Carleton DSB | [12 empty] | Ottawa-Carleton DSB | 1.6815 | 1.6815 | 1.0734 | 0.161 | 780 | 0.78
28 | 26 | Upper Canada DSB | [12 empty] | Upper Canada DSB | 0.8607 | 0.8607 | 0.43896 | 0.058 | 147 | 0.147
29 | 27 | Limestone DSB | [12 empty] | Limestone DSB | 0.5681 | 0.5681 | 0.31396 | 0.049 | 820 | 0.82
30 | 28 | Renfrew County DSB | [12 empty] | Renfrew County DSB | 0.2849 | 0.2849 | 0.17256 | 0.021 | 63 | 0.063
31 | 29 | Hastings and Prince Edward DSB | [12 empty] | Hastings and Prince Edward DSB | 0.4471 | 0.4471 | 0.25008 | 0.038 | 199 | 0.199
32 | 30A | Northeastern Catholic DSB | [12 empty] | Northeastern Catholic DSB | 0.102 | 0.102 | 0.042093 | 0.007 | 58 | 0.058
33 | 30B | Nipissing-Parry Sound Catholic DSB | [12 empty] | Nipissing-Parry Sound Catholic DSB | 0.1009 | 0.1009 | 0.051728 | 0.008 | 215 | 0.215
34 | 31 | Huron-Superior Catholic DSB | [12 empty] | Huron-Superior Catholic DSB | 0.1567 | 0.1567 | 0.06741 | 0.011 | 56 | 0.056
35 | 32 | Sudbury Catholic DSB | [12 empty] | Sudbury Catholic DSB | 0.1764 | 0.1764 | 0.093118 | 0.014 | 37 | 0.037
36 | 33A | Northwest Catholic DSB | [12 empty] | Northwest Catholic DSB | 0.0507 | 0.0507 | 0.020789 | 0.006 | 7 | 0.007
37 | 33B | Kenora Catholic DSB | [12 empty] | Kenora Catholic DSB | 0.0429 | 0.0429 | 0.016799 | 0.004 | 4 | 0.004
38 | 34A | Thunder Bay Catholic DSB | [12 empty] | Thunder Bay Catholic DSB | 0.2103 | 0.2103 | 0.096697 | 0.018 | 22 | 0.022
39 | 34B | Superior North Catholic DSB | [12 empty] | Superior North Catholic DSB | 0.0777 | 0.0777 | 0.025886 | 0.005 | 7 | 0.007
40 | 35 | Bruce-Grey Catholic DSB | [12 empty] | Bruce-Grey Catholic DSB | 0.1245 | 0.1245 | 0.067335 | 0.013 | 15 | 0.015
41 | 36 | Huron Perth Catholic DSB | [12 empty] | Huron Perth Catholic DSB | 0.1583 | 0.1583 | 0.066229 | 0.013 | 52 | 0.052
42 | 37 | Windsor-Essex Catholic DSB | [12 empty] | Windsor-Essex Catholic DSB | 0.4545 | 0.4545 | 0.28309 | 0.04 | 167 | 0.167
43 | 38 | London District Catholic School Board | [12 empty] | London District Catholic School Board | 0.5238 | 0.5238 | 0.30314 | 0.05 | 69 | 0.069
44 | 39 | St. Clair Catholic DSB | [12 empty] | St. Clair Catholic DSB | 0.227 | 0.227 | 0.12597 | 0.021 | 75 | 0.075
45 | 40 | Toronto Catholic DSB | [12 empty] | Toronto Catholic DSB | 2.0247 | 2.0247 | 1.2219 | 0.203 | 1766 | 1.766
46 | 41 | Peterborough V N C Catholic DSB | [12 empty] | Peterborough V N C Catholic DSB | 0.3679 | 0.3679 | 0.21131 | 0.032 | 39 | 0.039
47 | 42 | York Catholic DSB | [12 empty] | York Catholic DSB | 1.027 | 1.027 | 0.69729 | 0.141 | 499 | 0.499
48 | 43 | Dufferin-Peel Catholic DSB | [12 empty] | Dufferin-Peel Catholic DSB | 1.7022 | 1.7022 | 1.0344 | 0.131 | 160 | 0.16
49 | 44 | Simcoe Muskoka Catholic DSB | [12 empty] | Simcoe Muskoka Catholic DSB | 0.5004 | 0.5004 | 0.31176 | 0.055 | 72 | 0.072
50 | 45 | Durham Catholic DSB | [12 empty] | Durham Catholic DSB | 0.4711 | 0.4711 | 0.2954 | 0.047 | 98 | 0.098
51 | 46 | Halton Catholic DSB | [12 empty] | Halton Catholic DSB | 0.582 | 0.582 | 0.50332 | 0.077 | 105 | 0.105
52 | 47 | Hamilton-Wentworth Catholic DSB | [12 empty] | Hamilton-Wentworth Catholic DSB | 0.5678 | 0.5678 | 0.41858 | 0.07 | 283 | 0.283
53 | 48 | Wellington Catholic DSB | [12 empty] | Wellington Catholic DSB | 0.207 | 0.207 | 0.10807 | 0.02 | 25 | 0.025
54 | 49 | Waterloo Catholic DSB | [12 empty] | Waterloo Catholic DSB | 0.5008 | 0.5008 | 0.34433 | 0.052 | 69 | 0.069
55 | 50 | Niagara Catholic DSB | [12 empty] | Niagara Catholic DSB | 0.5523 | 0.5523 | 0.27526 | 0.057 | 147 | 0.147
56 | 51 | Brant Haldimand Norfolk Catholic DSB | [12 empty] | Brant Haldimand Norfolk Catholic DSB | 0.2798 | 0.2798 | 0.15336 | 0.024 | 117 | 0.117
57 | 52 | Catholic DSB of Eastern Ontario | [7 empty] | 6.7918 | 2.202 | 34 | 207 | #REF! | Catholic DSB of Eastern Ontario | 0.3544 | 0.3544 | 0.19218 | 0.03 | 178 | 0.178
58 | 53 | Ottawa Catholic DSB | [12 empty] | Ottawa Catholic DSB | 0.9585 | 0.9585 | 0.64714 | 0.087 | 286 | 0.286
59 | 54 | Renfrew County Catholic DSB | [12 empty] | Renfrew County Catholic DSB | 0.1948 | 0.1948 | 0.075459 | 0.014 | 104 | 0.104
60 | 55 | Algonquin and Lakeshore Catholic DSB | [12 empty] | Algonquin and Lakeshore Catholic DSB | 0.3504 | 0.3504 | 0.16633 | 0.009 | 204 | 0.204
61 | 56 | CSD du Nord-Est de l'Ontario | [12 empty] | CSD du Nord-Est de l'Ontario | 0.0691 | 0.0691 | 0.052442 | 0.01 | 16 | 0.016
62 | 57 | CSD du Grand Nord de l'Ontario | [12 empty] | CSD du Grand Nord de l'Ontario | 0.1495 | 0.1495 | 0.077236 | 0.011 | 36 | 0.036
63 | 58 | CS Viamonde | [12 empty] | CS Viamonde | 0.5095 | 0.5095 | 0.23053 | 0.045 | 67 | 0.067
64 | 59 | CÉP de l'Est de l'Ontario | [12 empty] | CÉP de l'Est de l'Ontario | 0.3903 | 0.3903 | 0.26666 | 0.045 | 192 | 0.192
65 | 60A | CSD catholique des Grandes Rivières | [12 empty] | CSD catholique des Grandes Rivières | 0.3367 | 0.3367 | 0.12409 | 0.017 | 170 | 0.17
66 | 60B | CSD catholique Franco-Nord | [12 empty] | CSD catholique Franco-Nord | 0.1073 | 0.1073 | 0.063604 | 0.01 | 69 | 0.069
67 | 61 | CSD catholique du Nouvel-Ontario | [12 empty] | CSD catholique du Nouvel-Ontario | 0.37 | 0.37 | 0.11995 | 0.028 | 385 | 0.385
68 | 62 | CSD catholique des Aurores boréales | [12 empty] | CSD catholique des Aurores boréales | 0.0358 | 0.0358 | 0.023341 | 0.005 | 11 | 0.011
69 | 63 | CS catholique Providence | [12 empty] | CS catholique Providence | 0.2915 | 0.2915 | 0.16192 | 0.037 | 45 | 0.045
70 | 64 | CS catholique Mon Avenir | [12 empty] | CS catholique Mon Avenir | 0.5413 | 0.5413 | 0.26414 | 0.058 | 97 | 0.097
71 | 65 | CSD catholique de l'Est ontarien | [12 empty] | CSD catholique de l'Est ontarien | 0.3701 | 0.3701 | 0.19773 | 0.032 | 116 | 0.116
72 | 66 | CSD catholique du Centre-Est de l'Ontario | [12 empty] | CSD catholique du Centre-Est de l'Ontario | 0.5627 | 0.5627 | 0.36524 | 0.071 | 203 | 0.203
73 | 100 | James Bay Lowlands SSB | [12 empty] | James Bay Lowlands SSB | 0.005 | 0.005 | 0.013567 | 0 | 0 | 0
74 | 101 | Moose Factory Island DSAB | [12 empty] | Moose Factory Island DSAB | 0.005 | 0.005 | 0.009242 | 0 | 20 | 0.02
75 | 102 | Moosonee DSAB | [12 empty] | Moosonee DSAB | 0.005 | 0.005 | 0.004511 | 0 | 21 | 0.021
76 | 103 | Protestant SSB | [12 empty] | Protestant SSB | 0.005 | 0.005 | 0.003844 | 0.001 | 8 | 0.008